## P50 Pocket Ultrasound System  Technical Specifications

Design of the innovation

- Wireless connection between ultrasound probe and display

Any conventional tablets can transform into an ultrasound machine (Supports IOS, Android and windows). Images can be shared within one click.

- An ultrasound machine with only 160g light weight, Convenient for hand-carry to anywhere.

- Patented detachable probe head and main unit

More cost effective and convenient to meet the needs of different clinical applications.  Freeze, unplug, plug, 3 steps to detach probe lens for different applications.

# general specifications

Net weight:	About 160g

Size: 	150mm*40mm*25mm

Battery time:              About 4 hours

Waterproof level:          Ipx4

WIF coverage distance:	≥6m

Platform: 		     Android, Windows, IOS

Connection Type: 	     2.4G/5G 802.11b/g/a WiFi &USB

Supporting devices:        Android tablet or smart phone, Windows PC, IPhone and IPAD.

Probe heads:	All types of detachable transducers supported.

Modes:	B, M, 2B, THI, Color, Power, PW

(only color Doppler version have Color, Power, PW)

Gray level:	256

Transducer Frequency:	2-11MHz

Max scanning Depth:	310mm

Dynamic range:            30-120

Digital Technology:	Wide-angle imaging

Panoramic focusing technology

Frequency compounding

Space compounding

Rolling M technology

Real-time Dynamic Aperture

Tissue Harmonic Imaging

Tissue Specific Imaging

Controls:

Gain TGC Depth

C Scale/Vel

C Gain

C Frequency

C Steer

PW Steer

PW SV Size

PW BaseLine

Time Mark(Only Windows)

PW Speed

PW Auto Calculation

PW Auto Calculation Parameters

Frequency

Focus Position

Dynamic Range

Frame Correlation/Persistence

TSI

Enhance

Gray Map

Acoustic Power

Qbeam/CrossBeam

Expand mode

Biopsy GuideLine

Left/Right Flip

Up/Down Flip

## Function

Cine-loop:	400 frames movie playback stored

Zoom:                	Max 10 times

Qopt:	One-key optimization

Language:	Chinese, English, (All systems)

Russian, Spanish, Italian, Czech, German (Windows&Android)

DICOM:	DICOM 3.0

Other function: 	Patient information Management

## Measurement and calculation

B mode: 	Distance, angle, area, volume,

trace length, distance ratio, area ratio, histogram

M mode:	Distance, time, slope, heart rate

CALCULATION PACKAGES:

Ob/Gyn: Measurements: Distance/Ellipse/Trace/Volume, GS, CRL, BPD, HC, AC, FL, AFI, Cervix Length,

Calculations: Estimated Fetal Weight, Estimated Due Date

Cardiac:

Measurements: Distance/Ellipse/Trace/Area, RVWd, RVDd, IVSd, LVDd, LVPWd, RVWs, RVDs, IVSs, LVPWs, MVA, AVA

Calculations: Ejection Fraction, Fractional Shortening, Volume Area, Stroke Volume, LA/Ao, CI, SI

(Above items are for Windows APP. For Android and IOS APP, the measurements include Distance, Angle, Area, Time, Heart Rate, Speed)

Full measurement packages, report and patient list support only for Windows

Application package:

Abdomen, Small parts, Vascular, Obstetrics,

Gynecology, Cardiology, Kidney,

Urology, Orthopedics, Carotid, MSK, Nerve

Software Compatibility

iOS: iOS version 10.0 or newer

Suggested Mobile devices: iPhone 5S (or newer), iPod Touch (5th gen or newer)

Apple iPhone 6s, 6s Plus, SE, 7, 7 Plus, 8, 8 Plus, X, XS, XS Max and XR

Suggested Tablet device:iPad (3rd gen or newer), iPad Air (1st gen or newer), iPad Mini (1st gen or newer),

iPad 5th gen, 6th gen, iPad Pro

Android: Android device 7.0 or newer

Suggested Mobile devices: HUAWEI mate 8, mate 9, mate 20, mate 30, P10, P20, P30, Honor..

Suggested Tablet device: HUAWEI MediaPad M6, Matepad, Matepad Pro,

Samsung Galaxy Tab S5e, S6, S7+, Samsung Galaxy Tab A(2019), Samsung Galaxy Tab A7 …

Baaske e-medic tablet, Teguar TMT-4391-08

Windows:

Windows XP, Win7, Win8, Win10 PC (At least i5 CPU and 4GB memory)

Suggested Windows device: Huawei MateBook 13, MateBook 14, MateBook X Pro,

Microsoft Surface GO 2, Microsoft Surface GO 3, Microsoft Surface Pro.

Working Power Supply

AC Adaptor output: Voltage 5V, Output current 2A

Battery: Lithium-Ion Battery Pack: 7.4V, 1300mAh

Recharge time: About 2 hours(for full recharge)

Scan time: About 4 hours continuous scanning time

System Bootup: Less than 5 seconds

Working Environment

Ambient Temperature: 0℃-32℃

Relative Humidity: 30%-85%

Atmospheric Pressure: 700hPa-1060hPa

## Multiple frequency probes

## Standard Configurations

Wireless system main unit

One Probe head

APP software

Power Adapter

Type-C cable

carrying case

24 months warranty since ex-factory date for main unit

12 months warranty since ex-factory date for probe heads

Contact US：

Guangdong Youkey Medical Co., Ltd.

E-mail: arvinleung@youkeymedical.com

Web: www.youkeymedical.com